{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":40,"n_cols":6,"rows_kept":40,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTX-KN"]
[]
[]
[]
[]
["","","","","FTX25KNV1B","FTX35KNV1B"]
["Nivel de presión sonora","Calefacción","Alto","dBA","40","43"]
["","","Medio","dBA","34","35"]
["","","Funcionamiento silencioso","dBA","25","26"]
["","","Bajo","dBA","28","29"]
["","Refrigeración","Medio","dBA","33","34"]
["","","Funcionamiento silencioso","dBA","20","20"]
["","","Bajo","dBA","26","27"]
["","","Alto","dBA","40","43"]
["","","Nom.","dBA","34","35"]
["","Refrigeración","Nom.","dBA","33","34"]
["Accesorios estándar","Manual de instalación","","","1","1"]
["","Manual de uso","","","1","1"]
["","Mando a distancia por infrarrojos","","","1","1"]
["","Pilas secas AA","","","2","2"]
["","Soporte del mando a distancia","","","1","1"]
["","Placa de montaje","","","1","1"]
["","Filtro purificador de aire fotocatalítico de apatito de titanio","","","2","2"]
["","Tornillos de fijación de la unidad interior","","","2","2"]
["Sistemas de control","Controlador remoto con cable","","","BRC944B2, BRC073A1","BRC944B2, BRC073A1"]
["","Infrared remote control","","","ARC470A1","ARC470A1"]
["Conexiones de tubería","Liquid","OD","mm","6.35","6.35"]
["","Gas","D.E.","mm","9.5","9.5"]
["","Drain","","","18","18"]
["Nivel de potencia sonora","Refrigeración","","dBA","55","55"]
["","Calefacción","","dBA","55","56"]
["Dimensiones","Unidad","Anchura","mm","770","770"]
["","","Profundidad","mm","225","225"]
["","","Altura","mm","285","285"]
["Carcasa","Color","","","Blanco","Blanco"]
["Peso","Unidad","","kg","8.5","9"]
["Power supply","Fase","","","1~","1~"]
["","Frecuencia","","Hz","50","50"]
["","Nombre","","","V1","V1"]
["","Tensión","","V","220-240","220-240"]